## Slide 1: GeoTASO: An airborne testbed for TEMPO and GEMS trace gas retrievals
Caroline Nowlan, Xiong Liu, Gonzalo Gonzalez Abad, Kelly Chance, Peter Zoogman
Harvard-Smithsonian Center for Astrophysics, Cambridge, MA
James Leitch, Joshua Cole, Tom Delker, Bill Good, Frank Murcray, Lyle Ruppert, Dan Soo
Ball Aerospace, Boulder, CO
Chris Loughner, Melanie Follette-Cook, Scott Janz, Matt Kowalewski, Ken Pickering
NASA GSFC, Greenbelt, MD
Jay al-Saadi
NASA LaRC, Hampton, VA
TEMPO Science Team Meeting, 1-2 June 2016

## Slide 2: How GeoTASO Informs TEMPO
  Sensor-algorithm interactions and key parameters
    Identifies sensor artifacts that influence retrieval accuracy
    Highlights tests and measurements needed for good retrievals
    Can conversely show where sensor performance and testing can be relaxed
  Algorithm preparation/tuning for TEMPO
    Offers direct test of algorithm performance vs. SNR and spectral passband/sampling
    Tests surface reflectance effects on retrievals
    Demonstrate combined UV/Visible ozone retrieval
    High spatial resolution checks for any smaller scale effects on space-based retrievals
(Jim Leitch, GeoTASO IIP Final Review 2014)
  Satellite analogue for preparatory field campaigns
  Future validation instrument

## Slide 3: GeoTASO Instrument

## Slide 4: GeoTASO Instrument
Geostationary Trace gas and Aerosol Sensor Optimization
Measures with two 2D CCD detector arrays (UV and VIS)
 | GeoTASO | TEMPO
Wavelength range | 290 – 400 nm (UV) 415 – 695 nm (VIS) | 290 – 490 nm (UV) 540 – 740 nm (VIS)
Nominal spectral sampling | 3.1 pixels/FWHM | 2.9 pixels/FWHM
Nominal spectral resolution | 0.43 nm (UV) 0.88 nm (VIS) | 0.57 nm
Native spatial resolution | 9 m x 50 m | 2.1 km x 4.4 km
Reference spectrum | Zenith or clean nadir | Solar diffuser

## Slide 5: GeoTASO Campaigns
Campaign | Location | Dates
Test flights | Virginia/Maryland | July 2013
DISCOVER-AQ | Texas | September 2013
DISCOVER-AQ | Colorado | July-August 2014
Ocean color | NOAA ship, off Virginia | July 2015
KORUS-AQ | Korea | May-June 2016
NO2 retrievals from DISCOVER-AQ Texas 2013 available online on NASA data archive
  Nowlan et al., AMTD, 2015
L1B data for DISCOVER-AQ Colorado is available from NASA ftp as of May 2016 (contact Jay al-Saadi)

## Slide 6: GeoTASO Spectrometer

## Slide 7: GeoTASO Observations
Native resolution is ~9 m x 50 m with SNR=65 (NO2) and SNR=110 (HCHO)
  Co-add to reduce noise
  For NO2, we provide data at 250 m x 250 m

## Slide 8: Trace Gas Retrievals

## Slide 9: NO2 over Downtown Houston 13 September 2013
Vertical
Column

## Slide 10: NO2 over Downtown Houston 13 September 2013

## Slide 11: NO2 over Denver, Raster Scans 2 August 2014
8:00 – 11:30 AM Local time
2:00 – 4:00 pm local time
Slant
Column

## Slide 12: Colorado Formaldehyde

## Slide 13: Denver HCHO

## Slide 14: O3 Profiles
Preliminary
UV-only retrieval
Use UV and Visible channels to test O3 profile retrievals
Some challenges:
  Absolute radiometric calibrations need to be very accurate
  Development of a good reference spectrum

## Slide 15: GeoTASO SO2
Photo by J.B. Forbes
GeoTASO measured coincident slant columns of NO2 and SO2 downwind from Labadie Power Station, Missouri’s largest coal-burning power plant, on transit from Colorado to Virginia (08/13/2014)

## Slide 16: Calibration, Characterization and Level 2 Data Quality

## Slide 17: Characterization using Flight Data: Background
Slit function shape parameters and wavelength dispersion are fit before trace gas retrieval using a high-resolution solar reference spectrum (i.e., Chance and Kurucz, 2010)
See Liu et al., 2005 (GOME), Liu et al., 2010 (OMI), Cai et al., 2012 (GOME-2)
For aircraft data, need to fit “pseudo-absorbers” (O3 etc.) at the same time as we do not have an exo-atmospheric spectrum

## Slide 18: Characterization using Flight Data: Slit Function
Slit function shapes and widths are very stable across both dimensions of CCD array (<0.01 nm differences).

## Slide 19: Characterization using Flight Data: Wavelength Registration
Wavelength sampling varies across spatial dimension
Zenith spectra are collected at center of array using optical fiber
Fitting a wavelength shift relative to zenith reference in retrieval works fine for NO2
HCHO is more sensitive to calibration errors, and cross-track dependent clean nadir reference works best

## Slide 20: Level 0 to Level 1B Processing
Remove dark current
Correct for:
  Offset
  Crosstalk
  Smear
  Out-of-band straylight
  Out-of-field straylight
Convert to scene radiance using radiometric calibration data
Geolocation

## Slide 21: Level 0 to Level 1B Processing: Noise introduced by calibrations
Stray light corrections have spectral noise
  These can be smoothed, or else will introduce noise that increases fitting residuals
A persistent pattern shows up in all spectra in L0L1B version with stray light smoothing turned off.

## Slide 22: Level 0 to Level 1B Processing: Red field effect in NO2 retrievals
Regions of high RMS correlate with bright red-brown fields (bare soil?)
Likely from incorrect out-of-band stray light correction
Luckily, the Colorado campaign had few of these observations.
RMS
RGB Image

## Slide 23: Level 0 to Level 1B Processing: Along-Track Striping
Saturated pixels at edge of cross-track view can bleed into out-of-field detector pixels which are used for stray light corrections
Along-track striping in Level 2 retrievals can appear if stray light is not removed correctly
Raw CCD frame

## Slide 24: Effects of Slit Size
GeoTASO was designed to take replaceable slits of varying sizes
DISCOVER-AQ Texas used four slit sizes on different flights
 | 26.0 mm | 32.5 mm | 39.0 mm | 45.5 mm
UV sampling (pixels/FWHM) | 2.5 | 2.8 | 3.1 | 3.5
VIS sampling (pixels/FWHM) | 2.5 | 2.7 | 3.1 | 3.6
UV FWHM (nm) | 0.34 | 0.39 | 0.43 | 0.49
VIS FWHM (nm) | 0.70 | 0.75 | 0.88 | 1.00
undersampled

## Slide 25: Effects of Slit Size (NO2)
SNR is lower for narrower slits
  Integration time was the same for all flights
Cost of low throughput not offset by benefits of higher spectral resolution for two narrowest slits
DISCOVER-AQ Texas NO2 Fitting Uncertainties

## Slide 26: Validation

## Slide 27: GeoTASO NO2 vs PANDORA NO2 Houston Urban Flights
NO2 at 250 m x 250 m resolution has fitting uncertainty of 2.2e15 molecules/cm2
TEMPO will have coarser spatial resolution (2.1x4.4 km2) and higher precision
Expect similar features (correlation increases with range of NO2) but lower slope (lower spatial resolution) and reduced r (lower spatial and temporal resolution)

## Slide 28: GeoTASO NO2 vs In Situ NO2 Houston Urban Flights
(Following Lamsal et al., 2008)

## Slide 29: Current Status and Summary
L1B data
  DISCOVER-AQ Texas available
    UV data contaminated by stray light
    Contact Jim Leitch at Ball Aerospace or Caroline at SAO
  DISCOVER-AQ Colorado available as of May
    Contact Jay al-Saadi
Level 2 data
  DISCOVER-AQ Texas NO2 on data archive
  DISCOVER-AQ Colorado non-final results available from SAO
  See Nowlan et al. (2015, AMTD)
Instrument currently deployed in KORUS-AQ
Ball has transferred instrument to Scott Janz at NASA GSFC