## Slide 1
Validation of TEMPO using Pandora Data Products
O3, SO2, HCHO, BrO, NO2, H2O Total Column & Profiles
Jay Herman, Elena Spinei, Nader Abuhassan, Alexander Cede

## Slide 2
TEMPO Proposal Cover
Geostationary Satellite
Focused on the US
Coastal waters
Part of Canada
Part of Mexico
Goal
Hourly Change in Atmospheric
Composition, Clouds, Aerosols,
Surface Properties, and Coastal
Oceans

## Slide 3
Earth and Clouds
TEMPO
Multiple images per day
O3, NO2, SO2, HCHO, H2O
Clouds and Aerosols
Resolution 5 x 8 km2
290 – 690 mn Res 0.6 nm
3x Oversampled

## Slide 4
Ground Validation:
Two Pandoras in Direct Sun & Sky-Scan Modes
Total Column every 80 seconds
Profiles every 20 minutes
O3
SO2
HCHO
BrO
NO2
H2O
Pandora For TEMPO
2015 New Optics
New Sun Tracker
2016 New Electronics
2016 Extended Range
2016 0.08 nm resolution
2016 Echelle Grating Spectrometer for HCHO and BrO

## Slide 5
2
2
10
Locations of 29 operating Pandoras
1Colorado 2 Canada 1 Tenerife 1 New Mexico
10 GSFC 2 Boston 1 Houston 1 Taiwan
2 Langley 2 Finland 6 S. Korea
New Pandoras: Wallops Island VA
CCNY (NYC). Chesapeake Bay
Saint Louis MO Richmond VA
Boulder CO. Huntsville AL
Wallops VA Table Mtn, CA
6
2

## Slide 6
Pandoras in Sky-Scan Mode
Polluted Wind
Blowing from the Land
Clean Air
Blowing from the Gulf of Mexico
Vertical resolution better than 25-50 meters for NO2 profiles depending on aerosol conditions
NO2

## Slide 7: Profiles of NO2 Compared with Aircraft Measurements Discover-AQ
NO2 profiles derived from Pandora direct-sun and MAXDOAS observations over Fresno, California on 18-Jan-2013
Comparison of Pandora retrieval to aircraft (P3B) measured NO2 profile (Fresno California).
Variation of Boundary Layer
NO2 Profile

## Slide 8
Pandora Measurements of Ozone Profiles Compared with O3 Balloon Sondes
Smith Point, Texas on Sept 18 and 26, 2013
Pandora O3 Profile
Balloon Sonde O3 Profile
Notice the profile agreement in the Troposphere

## Slide 9
Pandora Near Surface O3 Volume Mixing Ratios at Moody Tower

## Slide 10
Pandora O3 Compared with a Standard Dobson

## Slide 11
Pandora O3 Compared with OMI

## Slide 12
MODEL RUNS: (left panel, from Fishman et al., 2008) Diurnal variability in column and surface NO2 from CMAQ simulations over Houston. (right panel, from Boersma et al., 2008) GEOS-Chem simulations of tropospheric NO2 column (Nv) over a typical region dominated by fossil fuel use. Also shown are the model diurnal partitioning of NO2/NOx (α), emissions E, and chemical loss (k).
CMAQ Model Predictions Sources and Sinks
Emissions
Loss
NO2/NOX
Why Should We Use Pandora for TEMPO Validation
Model Runs and Surface Measurements do not match Pandora Total Column Measurements (J. Crawford)

## Slide 13
Why Should We Use Pandora for TEMPO Validation
DISCOVER-AQ observations over the Baltimore-Washington area in July 2011 L. Diurnal variability in total column NO2 observed by Pandora spectrometers.
R. Average NO2 in situ profiles for different times of day.
Dashed lines connect measurements for the lowest flight altitude to average surface values.
Diurnal variability in Column NO2
Average NO2 in situ profiles for
different times of day

## Slide 14
DISCOVER-AQ observations over California’s San Joaquin Valley in January-February 2011 (left) Diurnal variability in total column NO2 observed by Pandora spectrometers. (right) Average NO2 in situ profiles for different times of day over Bakersfield and Fresno. (bottom) Average NO2 in situ profiles for different times of day over the other four remote sites.
Why Should We Use Pandora for TEMPO Validation
Pandora
Diurnal variability in Column NO2
Bakersfield and Fresno.
Aircraft
Average NO2 in situ profiles
Porterville
Hanford
Huron
Tranquility

## Slide 15
DISCOVER-AQ observations over Colorado in August-September 2014 (L) Diurnal variability in total column NO2 observed by Pandora spectrometers.
(R) Comparison of diurnal variability in total column and surface NO2 for the three sites with the highest NO2 abundances.
Pandora
Diurnal variability in Column NO2
Aircraft and Surface
Average NO2 in situ profiles
Surface
Pandora
Why Should We Use Pandora for TEMPO Validation
La Casa
I-25
Platteville, Golden, BAO, Chatfield

## Slide 16: Examples of NO2 Column Variation

## Slide 17: Examples of O3 Column Variation

## Slide 18
Spectral Window: 325-360 nm
Technique: MAX-DOAS
Formaldehyde Surface Values from Pandora
Comparison with Aircraft (D-AQ)
Moody Tower Houston Texas
08:50
3.5 ppbv
11:50
4
13:30
4.8 ppbv
Aircraft Surface HCHO
Pandora Surface HCHO

## Slide 19
Pandora
Pandora
Formaldehyde Surface Values from Pandora
Comparison with Aircraft (D-AQ)
Moody Tower Houston Texas
Pandora
Pandora
Sept 26, 2013
Sept 25, 2013
Very Sharp Gradients

## Slide 20
GSFC Echelle Grating Spectrometer (20 pico-meters)
NO2
D2

## Slide 21
High resolution (0.03 nm per FWHM) and low resolution (0.5 nm per FWHM) normalized absorption cross sections of HCHO [Chance and Orphal, 2011; 300K], O3 [Macilet et al., 1995; 228K], NO2 [Vandaele et al., 1998 220K], BrO [Fleischmann et al., 2004; 223K] and O2O2 [Hermans et al,. 2003] (arbitrary scale): A) from 315 to 370 nm and B) OMI fitting HCHO wavelength region from 328.5 to 356.5 nm. Arrows indicate the major cross correlation regions.
Basic Reason for Echelle Grating Spectrometer Studies
Find a Window at 0.6 nm that gives a good answer for HCHO

## Slide 22
and a head sensor on a sun tracker
What is PANDORA?
Pandora is a small spectrometer system, which we have been developing since 2006. We now have over 30 Pandoras. It consists of …
a “miniature”
spectrometer
Measures sun and sky radiance from 280 to 525 nm in 0.5 nm steps with a 1.6o field of view. Products: NO2, H2O, O3, SO2, HCHO, and aerosol properties. Grey = under development
O3: 3 DU accuracy and 1 DU precision
NO2: 0.1 DU accuracy and 0.01 DU precision
Temperature controlled

## Slide 23
The Pandora optical heads are shown mounted on a shelf. The yellow boxes contain the spectrometer and computer in a temperature controlled environment at 25C to within 1 degree by internal thermoelectric cooling
The optical head can track the sun to obtain total column amounts of trace gases or look at the sky to obtain altitude profiles of O3 and NO2
Pandora Setup

## Slide 24
RMS of Residuals in NO2 Fitting
Old Optics New Optics
An Optics Problem Affecting Direct-Sun Measurements
Improved Accuracy for NO2 and Ozone and Will Make
Possible Direct Sun Measurements of
Formaldehyde
BrO

## Slide 25
Known Pandora Bugs
EFFECTS
Reduced Transmission
Reduced SNR
Variable Signal
False Diurnal Change
Main Goal of Pandora
Project
ELIMINATE BUGS
BEFORE TEMPO FLIES