## Slide 1
Tropospheric Emissions:
Monitoring of Pollution
TEMPO Nitrogen Dioxide:
Algorithm and Status
Caroline Nowlan
Center for Astrophysics | Harvard & Smithsonian
Xiong Liu, Kelly Chance, Gonzalo González Abad, Laurel Carpenter, Chris Chan Miller, Heesung Chong, John Davis, Jean Fitzmaurice, Weizhen Hou, John Houck, Raid Suleiman, Huiqun Wang, James Carr, Barron Henderson, Laura Judd, Luke Valin, James Szykman and the TEMPO Team
TEMPO/GEMS Joint Science Team Workshop
August 26, 2024

## Slide 2: NO2 Retrieval Algorithm
1) Slant column density retrieval (spectral fitting)
2) Air mass factor (AMF) calculation
3) Stratosphere/troposphere separation

## Slide 3: NO2 Uncertainties (Fitting Precision)
TEMPO NO2 meets the requirement for 95% of cloud-free scenes with no pixel coadding!
Requirement for 4 co-added pixels
Single pixel performance
Tropospheric NO2 vertical column uncertainty
9 May 2024, Scan 6
30 May 2024
[Credit: Laura Judd]

## Slide 4: Improving NO2 SCD: Partly cloudy scenes
wavelength [nm]
Spectral fit for clear and partly-cloudy pixels
Skewed absorption features over partly cloudy scenes
 larger fitting residuals
 larger fitting uncertainties
4
1 July 2024, S006
* Formaldehyde and other trace gases also affected

## Slide 5: Improving NO2 SCD: De-striping
Cross-track striping is common in retrievals from CCD array instruments
Striping correction is implemented in pipeline but not yet turned on
  Currently testing for robustness, and NRT implementation
De-striping correction
1 July 2024, S008

## Slide 6: Improving NO2 AMF
Normalized radiance biases can cause general high bias in cloud fraction
Surface reflectance errors affect trace gas AMF through both scattering weights and clouds
And more:
  Include sphericity in look-up tables
  Switch to new GEOS-CF version

## Slide 7: TEMPO NO2 vs. Pandora and TROPOMI
[Credit: Barron Henderson, Luke Valin, Jim Szykman]
* TROPOMI comparisons are for Pandora locations + ozone non-attainment areas

## Slide 8: TEMPO NO2 vs. Pandora (Diurnal Change)
[Credit: Barron Henderson, Luke Valin, Jim Szykman]
***Note: Early AM and late PM TEMPO NO2 likely has large contribution from the prior (GEOS-CF)

## Slide 9: Summary and Outlook
NO2 easily meets pre-launch precision requirements
Validation team is assessing NO2 data, with recent update to V3
Upcoming plans:
  Update to new version of GEOS-CF (see Emma Knowland’s talk)
  North/South stripe correction
  Files will include cloud-free scattering weights and AMFs
  Improve fitting in partly cloudy pixels
  Improvements to surface reflectance
  NO2 will likely see significant changes with radiance calibration improvements (from clouds)
TEMPO NO2 NRT products under development