## Slide 1: Aircraft-based validation of TEMPO during the AEROMMA campaign
Eleanor Waxman1,2, Drew Rollins2, Kristen Zuraski1,2, Glenn Wolfe3, Abby Sebol3,4, Caroline Nowlan5, Gonzalo Gonzalez-Abad5
1CIRES, University of Colorado Boulder, Boulder, CO
2NOAA Chemical Sciences Laboratory, Boulder, CO
3NASA Goddard Space Flight Center, Greenbelt, MD
4University of Maryland College Park, College Park, MD
5Harvard Smithsonian Center for Astrophysics, Cambridge, MA

## Slide 2: AEROMMA flights for TEMPO validation
Example: 23 Aug. 2023, LA and Pacific
Pacific
Redlands/San Bernardino
JPL/Pasadena

## Slide 3: Laser-Induced Fluorescence NO2 instrument
Rollins et al. (2020) AMT
1075 nm laser
PPLN
LBO
BBO
Prism
Lens
Fiber
NO cell
NO cell
NOx cell
NOy cell
HCHO (ISAF) operates on a similar principle. See Cazorla et al. (2015)

## Slide 4: LIF inlet to get NO2 and NOy
DC-8 window inlet
Ambient air
LIF instrument
to NO channel
NO inlet
395 nm LED
NOx inlet
to NOx channel
to NOy channel
Gold converter at 300 C
Photo credit: Chelsea Thompson, NOAA CSL

## Slide 5: Comparison methodology
42.35 N
42.65 N
-87.85 E
-87.6 E
DC-8 spirals over Lake Michigan on 8/02

## Slide 6: Comparison methodology
GEOS-CF a priori
Boundary layer mean
  NO2 SCD = S(NO2 partial column x mean scattering weight x T correction)
  HCHO SCD = S(HCHO partial column x mean scattering weight)
HCHO
NO2

## Slide 7: Total vertical column comparison
A) VCD = SCD/AMF B) VCD = S(in-situ partial columns)
NO2, method A
NO2, method B

## Slide 8: Vertical column comparison
A) VCD = SCD/AMF B) VCD = S(in-situ partial columns)
HCHO, method A
HCHO, method B

## Slide 9: Conclusions, Ongoing work
For NO2, strong correlation between TEMPO and in-situ based SCDs and VCDs.
For HCHO, weaker correlations (but expected based on much weaker signal)
Interesting differences between VCD methods A and B...
Incorporate high-resolution modeling below the aircraft
  4-km WRF Chem from Brad Pierce for the NYC/Chicago/Toronto
  12-km WRF Chem from NCAR for LA/Pacific
Expand to SO2 when TEMPO product becomes available
Keep up with TEMPO version updates (V04 in progress?)

## Slide 10
Extra slides

## Slide 11: Tropospheric column comparison
A) VCD = SCD/AMF B) VCD = S(in-situ partial columns)
NO2, method A
NO2, method B

## Slide 12: Satellite measurements
Image modified from tempo.si.edu
Fit measured spectrum
Slant column
(SCD)
Vertical column
(VCD)
Divide by air mass factor (AMF)
to
Account for atmospheric path, instrument altitude sensitivity, a priori profile, etc
Figure: Martin (2008) Atmos Environ

## Slide 13: TEMPO vs in-situ variability (V02 data)
LA on 8/25
NYC on 8/9