## Slide 1
Ruijun Dang (rjdang@g.harvard.edu)
Daniel J. Jacob, Yujin Oak, Laura H. Yang (ACMG, Harvard)
Helen Wang (Harvard-Smithsonian)
TEMPO/GEMS Workshop, 27th August 2024
Cloud-sliced free tropospheric NO2 observations from
the TEMPO geostationary satellite instrument

## Slide 2
FT NO2 is a major driver of global oxidant chemistry.
The importance of free tropospheric (FT) NO2
Shah et al. (2023)
FT NO2 contributes a background tropospheric NO2 column that must be accounted for when interpreting satellite data.
O3
NO
NO2
OH
CH4 lifetime
FT NOx impacts GHGs abundance
65% in summer
25% in winter
Free troposphere: the troposphere above the boundary layer (~2km - tropopause)
~2 km
BL
FT

## Slide 3
50km
50km
300 hPa
Cloud optical
centroid pressure (OCP)
700 hPa
450 hPa
Measured above-cloud NO2 vertical column densities (VCD)
Regression between
cloud pressure and NO2 VCD
Cloud pressure (OCP)
Above-cloud NO2 VCD
Cloud-slicing technique – deriving FT NO2 concentrations
from satellite observations under cloudy conditions
LEO products have poor spatial resolution and high uncertainties
With higher spatial and temporal resolution,
TEMPO can better define fully cloudy scenes and offer greater data density

## Slide 4
TEMPO cloud-sliced observation of FT NO2 (700-300 hPa)
TEMPO
DJF
MAM
JJ
NO2 (ppt)
Sampled GEOS-CF
NO2 (ppt)
Seasonal mean product at 2° x 2.5°
Uncertainty: 40-50%
TEMPO NO2 and cloud product:
Dec 2023-Feb 2024, v1
Feb-May 2024, v2
May-Jul 2024, v3
Use cloud radiance fraction>0.9
GEOS-CF model:
Online GEOS-Chem in GEOS system
Provides NO2 vertical shape factors for TEMPO retrieval

## Slide 5
TEMPO cloud-sliced observation of FT NO2 (700-300 hPa)
TEMPO
DJF
MAM
JJ
NO2 (ppt)
Sampled GEOS-CF
NO2 (ppt)
Observations and model are encouragingly consistent:
Comparable magnitude
Seasonal variation
Spatial distribution
Some important discrepancies:
TEMPO does not detect GEOS-CF hotspots in winter
TEMPO > GEOS-CF offshore of east coast in spring-summer
TEMPO < GEOS-CF over land in summer
(2) and (3) suggest model error in parameterizing lightning NOx emissions
Uncertainty: 40-50%

## Slide 6
High TEMPO FT NO2 over oceans linked to lightning activity,
not captured by GEOS-CF
Model underestimates the lightning flashes over the Gulf of Mexico and the western Atlantic.
Lightning NOx production rate is likely set too high north of 35°N in the model, leading to a high bias.
Flash count
(GLM onboard GOES-16)
Flash count
(function of cloud top height)
Lightning NOx emissions
Observation
GEOS-CF model
MAM
JJ
500 mol N flash-1
260 mol N flash-1
35 °N
Combination of TEMPO and GLM will allow improved parameterization of
lightning NOx emissions in models!

## Slide 7
TEMPO enables diurnal observations of FT NO2
Encouragingly good agreement between TEMPO and model in spring!
The afternoon minimum in spring FT NO2 may be due to enhanced NO2 photolysis (further investigation is needed with models)
Discrepancy in summer: TEMPO shows a flatter pattern in summer compared to spring, while the model exhibits a similar pattern to spring.
MAM
DJF
JJ
TEMPO
Sampled GEOS-CF
Free trop
NO2 (ppt)

## Slide 8
Land
Ocean
Model
(GEOS-CF)
GEOS-CF is flatter, which would affect modeled FT NO2 diurnal cycle
GEOS-CF lightning flashes are a function of cloud-top height
GLM indicates an error in GEOS-CF lightning diurnal variation

## Slide 9
Evaluating TEMPO FT NO2 against aircraft observations
Campaigns
INTEX-B
ARCTAS
DC-3
SEAC4RS
DISCOVER-AQ
WINTER
DJF
MAM
JJ
700-300 FT NO2
Two different populations:
TEMPO does not capture the observed high values in NO2 plumes.
TEMPO shows fair consistency with aircraft observations below 50 ppt (r=0.6, slope=1.1).
Aircraft PSS NO2
TEMPO

## Slide 10
Takeaways
Any suggestions are welcome!
Contact: rjdang@g.Harvard.edu
We present a new TEMPO cloud-sliced free tropospheric (FT, 700-300 hPa) NO2 seasonal product at a 2° × 2.5° spatial resolution and diurnal resolution over North America.
There is a general agreement between TEMPO and GEOS-CF in terms of seasonality, spatial pattern, and diurnal variations.
Discrepancies suggest model errors in parameterizing lightning NOx emissions.
TEMPO FT NO2 (700-300 hPa) shows fair consistency with aircraft observations.
Further analysis is needed: Combining TEMPO and GLM geostationary observations to improve lightning NOx parameterization; Using model to understand TEMPO FT NO2 diurnal variations.