## Slide 1: 3 major issues, found from GEMSv2 NO2 validation (Kanaya et al., 2023 GEMS STM)
1. Diurnally changing sensitivity
2. Positive offset in clean regions
3. AVK profiles
7 LT
Early morning
10, 11 LT
Near noon
Yokosuka, Pandora#146
GEMSv2.0
Fukue, MAX-DOAS
AVK, averaged
2021Nov-2023Apr
Yokosuka

## Slide 2: TROPOMI & GEMSv3 NO2 validation using MAX-DOAS & Pandora at Yokosuka with improved consistency
Project: NIES, funded by MoE-Japan
PIs: T. Matsunaga, H. Tanimoto
Development: JAXA, Mitsubishi
Expected Launch: FY2024
Lifetime: 7 yrs
Orbital altitude: 666 km
Sensor: grating imaging spectrometer
Band: VIS, NIR 0.7, SWIR 1.6 um
Species: CO2, CH4, NO2
Swath: 911 km/90 km
Spatial resolution: 10 km/1-3 km
Global coverage: 3 days
Local time: 13:30
GOSAT-GW (Global Observing SATellite for Greenhouse gases and Water cycle)
TANSO-3 (Total Anthropogenic and Natural emissions mapping SpectrOmeter-3)
Yugo Kanaya (JAMSTEC), Yongjoo Choi (HUFS), and GnGval team
Related presentations by Nakamura (poster)

## Slide 3
GEMS (grid size 0.5°×0.5°; SZA<85°; CF<30%)
Yongin w. Pandora
(since 2021/09)
Yokosuka
w. Pandora
(since 2018/11)
June, 2021
Kanaya et al. ACP 2014, Choi et al. (RS, 2021) + extended works
7 x MAX-DOAS
2 x Pandora
Fukue
Cape Hedo
Gwangju
Locations of our validation observations : from polluted to remote
Seoul (Korea U.)
Incheon
(POSCO tower)
https://www.jamstec.go.jp/egcr/e/atmos/observation/maxdoashp/

## Slide 4: Improved MAX-DOAS retrieval: benchmarked with co-located CAPS and Pandora
Updated optimal estimation parameters :
State vector (TNO2VCD, v0-1km, v1-2km, v2-3km); Uncertainty range (Sa(2,2), (3,3), (4,4)=(0.05, 0.03, 0.03)
v0-0.5km, v0.5-1km, v1-2km (ini = 0.6, 0.5, 0.8)
0.4, 0.4, 0.2
TropNO2VCD
Surface in-situ NO2
CAPS(in situ)-NO2
MAX-DOAS retrieval
MAX-DOAS
CAPS(insitu)-NO2
MAX-DOAS increased by a factor of 2
Slope ~1.2
Pandora #146 (nvs) Total - strato
MAX-DOAS retrieval
MAX-DOAS
Pandora #146 (nvs)
Total - strato
MAX-DOAS decreased by ~10%, Slope ~1.15
Notes: F:\maxdoas\results\was_yok1_22_2405.xlsm
F:\maxdoas\results\was_yok1_22_2405_maxdoas_vs_pandoracaps.png

## Slide 5: GEMSv3 & TROPOMI TropNO2VCD vs. iMAX-DOAS: Yokosuka
MAXDOAS
MAXDOAS
MAXDOAS
MAXDOAS
GEOSChem
Douros et al., 2023
GEMS v3
slope = 0.79
R2 = 0.58
TROPOMI
slope = 0.63
R2 = 0.76
slope=1.90
slope=1.33
When AVK & MAX-DOAS profile are used for smoothing..
GEMSv3 performed well, as TROPOMI, when validated against iMAX-DOAS, in terms of slope and correlation.
Comparisons considering “vertical profile shapes and AVK” are still difficult, as the NO2 profile shapes are not certain enough (Though GEMSv3(GEOSChem) profiles and AVKs look OK)
Chart: AVK (TropNO2) GEMSv3
| 0.31157220558944726 | 0.35823963048639823 | 0.4059044263973613 | 0.45675249690024766 | 0.51154618466611734 | 0.57016274987634019 | 0.6312984041220121 | 1.0442332798021463 | 1.3159100308326479 | 1.3706007459192078 | 1.4186477686727157 | 1.4602670352844198 | 1.5078802811211844 | 1.5579761389942266 | 1.6014476702390821 | 1.6411739511953911 | 1.795329897444351 | 2.0487577183841674 | 2.1021016796372614 | 2.1472152468260575 | 2.1903295879637281 | 2.2318156153338871 | 2.2745757452596806 | 2.3434860103874664 | 2.3817609429513711 | 2.4163036326463323 | 2.4487720270403996 | 2.4879692016487995 | 2.5185032356141841 | 2.5408599195383328 | 2.5580230305028859 | 2.5682234707337201 | 2.5731903231657012 | 2.5743014558944743 | 2.5721702159933977 | 2.5677217394888729 | 2.5540420412201144 | 2.5372323231657079 | 2.5200178615004094 | 2.5042121879637245 | 2.4797133899422978 | 2.4638821203627423 | 2.4543255713107976 | 2.448228550700736 | 2.4437352728771571 | 2.4392326067600987 | 2.432332613355316
 | 0.058 | 0.189 | 0.32 | 0.454 | 0.589 | 0.726 | 0.864 | 1.004 | 1.146 | 1.29 | 1.436 | 1.584 | 1.759 | 1.988 | 2.249 | 2.517 | 2.792 | 3.074 | 3.439 | 3.896 | 4.375 | 4.879 | 5.413 | 5.98 | 6.585 | 7.237 | 7.943 | 8.846 | 9.936 | 11.021 | 12.086 | 13.134 | 14.17 | 15.198 | 16.222 | 17.243 | 18.727 | 20.836 | 23.02 | 25.307 | 28.654 | 34.024 | 40.166 | 47.135 | 54.834 | 63.053 | 72.18
Chart: Yokosuka NO2, GEMSv3 & MAX-DOAS
| 2934283687386698.5 | 2324937901401476 | 1620831412530919 | 1112337151690028 | 785139252926636.25 | 569795412366034.63 | 420406811871393.25 | 317656285572959.63 | 245740554822753.5 | 193031806908491.34 | 154319403759274.53 | 165551564319868.09 | 159622999258037.94 | 112000312827699.92 | 75007546084089.031 | 54653288161582.852 | 42157558483099.75 | 47992325622423.742 | 36485651145919.211 | 30363732794723.824 | 26565683841714.758 | 24031073784006.594 | 22011088903544.93 | 19857169018961.254 | 17556672860676.01 | 15788258235779.061 | 19465190008244.023 | 17183166875515.252 | 15980126166529.266 | 15178595581203.627 | 12470825230008.244 | 10945865277823.578 | 14428512494641.385 | 22215356257213.52 | 34075365737840.066 | 110256089051937.34 | 163676016570486.41 | 216619029183841.72 | 296315085902720.5 | 906772025391590.63 | 993059400659506.63 | 533629579389942.31 | 111677499274525.97 | 5307524189612.5313 | 189503358450.12366 | 1934195111.2943115
 | 0.058 | 0.189 | 0.32 | 0.454 | 0.589 | 0.726 | 0.864 | 1.004 | 1.146 | 1.29 | 1.436 | 1.584 | 1.759 | 1.988 | 2.249 | 2.517 | 2.792 | 3.074 | 3.439 | 3.896 | 4.375 | 4.879 | 5.413 | 5.98 | 6.585 | 7.237 | 7.943 | 8.846 | 9.936 | 11.021 | 12.086 | 13.134 | 14.17 | 15.198 | 16.222 | 17.243 | 18.727 | 20.836 | 23.02 | 25.307 | 28.654 | 34.024 | 40.166 | 47.135 | 54.834 | 63.053 | 72.18
"MAX-DOASredistributed" | 0.058 | 0.189 | 0.32 | 0.454 | 0.589 | 0.726 | 0.864 | 1.004 | 1.146 | 1.29 | 1.436 | 1.584 | 1.759 | 1.988 | 2.249 | 2.517 | 2.792 | 3.074 | 3.439 | 3.896 | 4.375 | 4.879 | 5.413 | 5.98 | 6.585 | 7.237 | 7.943 | 8.846 | 9.936 | 11.021 | 12.086 | 13.134 | 14.17 | 15.198 | 16.222 | 17.243 | 18.727 | 20.836 | 23.02 | 25.307 | 28.654 | 34.024 | 40.166 | 47.135 | 54.834 | 63.053 | 72.18
Δlat, lon<0.05, Δt<30min,
GEMS v3: Final Algorithm Flag=0, CF<0.3
TROPOMI: Collection 3 (≥v2.4), qa value>0.75, CRF<0.5
Notes: F:\gemsv3no2_Yokosuka\gemsv3_yokosuka_2201-2406avk_r.xlsm
F:\tropomi_yokosuka_out240730reduced_avk240805.xlsm
F:\gemsv3no2_Yokosuka\gemsv3_tropomi_yokosuka_fukue_hedo_2201-2406_avk.pxp, png

## Slide 6
GEMSv3 & TROPOMI TropNO2VCD vs. iMAX-DOAS: Fukue & Cape Hedo
At cleaner sites, GEMSv3 TropNO2VCD also agrees well with iMAX-DOAS as well as TROPOMI.
Y-axis intercepts diminished to (0.5-2) from GEMSv2 (3-10)x1015 cm-2.
(Bi-variate regressions are difficult to evaluate for Cape Hedo)
GEMS v3
slope = 0.51
R2 = 0.18
TROPOMI
slope = 0.57
R2 = 0.34
Δlat, lon<0.05, Δt<30min,
GEMS v3: Final Algorithm Flag=0, CF<0.3
TROPOMI: Collection 3 (≥v2.4), qa value>0.75, CRF<0.5
Notes: gemsv3_tropomi_yokosuka_fukue_hedo_2201-2406_avk.pxp
gemsv3_tropomi_fukue_hedo_2201-2406_nonavk.png

## Slide 7
GEMS v3 NO2 (Tropo VCD) and MAX-DOAS, from Jan 2022 to Jun 2024 (Korean sites)
CF<0.3, SZA<85º,
FinalAlgorithmFlags=0,
within ±0.05º
TROPOMI: S5P_L2_NO2__HiR
GEMS showed much tight correlation with MAX-DOAS in urban areas in Korea

## Slide 8: GEMSv3/MAX-DOAS ratio (TropNO2VCD, Japan): by Season (color) & Local time (x axis)
Chart: Yokosuka
| 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16
DJF | 1.1222 | 1.0331 | 1.0094 | 1.0494 | 1.0485
MAM | 0.74794 | 0.80979 | 0.77464 | 0.81637 | 0.89145 | 0.86798
JJA | 0.50235 | 0.56144 | 0.58483 | 0.6546 | 0.48187 | 0.51145
SON | 0.69509 | 1.0491 | 1.0814 | 1.0625 | 1.1143
 | 1.4259 | 1.4367 | 1.377 | 1.3562 | 1.3118
 | 1.0685 | 1.1515 | 1.1122 | 1.2105 | 1.2387 | 1.3086
 | 0.71393 | 0.80059 | 0.78573 | 0.91126 | 0.53711 | 0.61629
 | 0.99743 | 1.4126 | 1.5092 | 1.3313 | 1.5586
 | 0.82495 | 0.84885 | 0.81591 | 0.8109 | 0.78493
 | 0.52214 | 0.60933 | 0.58513 | 0.61317 | 0.65259 | 0.6522
 | 0.363 | 0.41505 | 0.42536 | 0.43148 | 0.44529 | 0.44441
 | 0.51511 | 0.82639 | 0.87215 | 0.86467 | 0.90686
Chart: Fukue
| 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16
DJF | 1.4051 | 0.91027 | 0.8228 | 0.79153 | 0.80071 | 0.85281 | 0.9175 | 1.1231
MAM | 0.68435 | 1.1056 | 1.0665 | 0.96399 | 1.0848 | 0.88496 | 0.93892 | 1.1221 | 1.0485 | 1.2281
JJA | 0.45778 | 0.50891 | 0.71596 | 0.65969 | 0.83177 | 0.36057 | 0.66754 | 0.88523 | 0.73488 | 0.72399
SON | 0.55555 | 0.75018 | 0.88076 | 0.94988 | 1.0597 | 0.86067 | 1.0433 | 0.95478 | 0.86672 | 0.83979
 | 1.8393 | 1.3405 | 1.1448 | 1.2441 | 1.3131 | 1.3539 | 1.3987 | 1.4778
 | 0.84974 | 1.7534 | 1.6062 | 1.3485 | 1.6266 | 1.388 | 1.5451 | 1.6305 | 1.6621 | 1.8436
 | 0.64123 | 0.77222 | 1.1376 | 0.90307 | 1.1497 | 0.51696 | 1.0982 | 1.0704 | 1.0066 | 0.91551
 | 0.86142 | 0.96948 | 1.2287 | 1.2401 | 1.4335 | 1.3286 | 1.3923 | 1.348 | 1.1177 | 1.1195
 | 1.1956 | 0.59087 | 0.52421 | 0.47938 | 0.48165 | 0.44324 | 0.54036 | 0.7381
 | 0.50547 | 0.74568 | 0.59801 | 0.63652 | 0.66762 | 0.50232 | 0.5214 | 0.59874 | 0.66258 | 0.71973
 | 0.25935 | 0.42078 | 0.47319 | 0.49411 | 0.59619 | 0.25675 | 0.46033 | 0.62164 | 0.47038 | 0.40964
 | 0.33117 | 0.38571 | 0.66932 | 0.58349 | 0.68001 | 0.58467 | 0.65679 | 0.64074 | 0.57832 | 0.46901
Chart: Hedo
| 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16
DJF | 1.5778 | 1.1178 | 1.01 | 0.96135 | 0.98068 | 0.90161 | 1.1516 | 0.97507
MAM | 0.65294 | 1.1923 | 0.77745 | 0.79443 | 0.76723 | 0.86425 | 0.85555 | 0.65078 | 0.85097 | 0.72722
JJA | 0.69103 | 0.86379 | 0.62508 | 0.62215 | 1.101 | 1.0276 | 1.2431 | 1.4351 | 1.2383 | 0.97156
SON | 1.271 | 1.0147 | 1.0061 | 0.73155 | 0.81707 | 0.96207 | 0.91396 | 0.95365 | 0.86511 | 0.9673
 | 3.3259 | 1.9924 | 1.9766 | 1.7277 | 1.6776 | 1.4336 | 1.7405 | 1.8167
 | 1.1499 | 2.045 | 1.1611 | 1.0491 | 1.0798 | 1.0713 | 1.2125 | 0.95146 | 1.2033 | 1.0373
 | 1.0203 | 1.1859 | 0.70778 | 1.0095 | 1.3066 | 1.7785 | 1.9597 | 1.6656 | 1.715 | 1.8831
 | 1.747 | 1.7059 | 1.9136 | 1.3464 | 1.1858 | 1.3606 | 1.6187 | 1.4167 | 1.3769 | 1.5634
 | 0.69221 | 0.56467 | 0.45231 | 0.64959 | 0.59688 | 0.66115 | 0.67408 | 0.53406
 | 0.36779 | 0.50293 | 0.53255 | 0.58773 | 0.59353 | 0.65026 | 0.58219 | 0.47128 | 0.64313 | 0.4678
 | 0.40319 | 0.55554 | 0.43694 | 0.43789 | 0.64934 | 0.69165 | 0.63048 | 0.81812 | 0.88613 | 0.60389
 | 0.75458 | 0.65409 | 0.628 | 0.48774 | 0.45393 | 0.52662 | 0.52277 | 0.53053 | 0.61645 | 0.62048
25%, 50%, and 75%tile are shown
Congratulations! Green light to go ahead!
DJF
MAM
JJA
SON
Notes: D:\gemsv3no2_Yokosuka\gemsv3_yokosuka_fukue_season_hour_Ratios.xlsx
Three sites for WSA retrievals for MAX-DOAS

## Slide 9: Aerosol shielding effect?
GEMS/MAX-DOAS ratio
(TropNO2VCD)
TROPOMI/MAX-DOAS ratio
(TropNO2VCD)
AOD
Surface Albedo/Reflectance440
CF<0.05, Yokosuka
Kanaya et al., ACP 2014 (OMI validation)
OMI/MAX-DOAS ratio
(TropNO2VCD)
Notes: F:\gemsv3no2_Yokosuka\gemsv3_tropomi_maxdoasratio_aod_alb.png

## Slide 10: Overview of research flights during ASIA-AQ
Livestock
Osan Airbase
Seoul
Teaan
Teaan PP
Yeonghueng PP
Dangjin PP
Deasan
Hyundai
Target 2. HUFS
(Pandora/MAX-DOAS)
Target 1. Power plants
Target 3. Livestock
Takeoff from Osan Airbase
  spiral flights over HUFS; Alt.: ~0.6 to 3 km
    in-situ vertical profiles (NO2, SO2 and so on)
MAX-DOAS
(2021.10~)
Pandora
(2023.09~)
NO2 (ppb)
KingAir C90GT
Flight paths over HUFS
( ASIA-AQ)
~10 km
±20°
MAX-DOAS
viewing direction; 250°
P-10
Choi et al.

## Slide 11: Challenges: NO2 profile shapes from MAX-DOAS, compared with aircraft during ASIA-AQ
Surface & >1 km
New < old MAX-DOAS algorithm
(opposite to seasonally averaged changes)
NO2 at ~ 0.5 km
New >> old
Still need more data around 0.5-1km
Tethered-sonde
(0~1 km)
(Inoue et al. AMT, 2021)
No in-situ data under ~ 1 km
P-10
Choi et al.

## Slide 12: Summary
Validation tools improved: With algorithm update (optimal estimation), MAX-DOAS agreed better with Pandora (TropNO2VCD) and CAPS (surface NO2) at Yokosuka.
GEMSv3.0 performed (TropNO2VCD) improved: Against iMAX-DOAS, GEMSv3.0 performed as well as TROPOMI. Diurnal variations are almost reasonable. Same for Fukue, Cape Hedo, and Korean sites.
Challenges: NO2 vertical profiles are yet difficult to determine from MAX-DOAS, hindering comparisons with AVK-smoothing. Benchmarking with aircraft observations etc. is underway.