## Slide 1: TROPOMI on Sentinel-5 Precursor mission status
pepijn.veefkind@knmi.nl
The TROPOMI team Pepijn Veefkind, Principal Investigator KNMI | TU-Delft | NCAR

## Slide 3
Wavelength [nm]
Reflectance [-]
Tropomi Observation over De Bilt, The Netherlands 17-04-2022
Tropomi measures more than 20 million spectra per day
UV-VIS 3.5 x 5.5 km2
NIR 3.5 x 5.5 km2
SWIR 7.0 x 5.5 km2
UV 28 x 5.5 km2

## Slide 5: S5P/TROPOMI
EU Copernicus Programme
Flight Operations
Ground segment
Routine validation
L1-2 algorithm data processor O3, SO2, HCHO, Cloud
NL National Programme
Tropomi Commanding
L0-1B algorithm data processor
Instrument monitoring & calibration
L1-2 algorithm & data processor
NO2, Aerosol, O3 Profile, CO, CH4
GE and BE National Programme
Algorithm development and prototyping
ESA Programme
Scientific product development and data processing
Notes: Instrument monitoring and in-flight calibration
Level 0-1B algorithms and data processor
Level 1-2 algorithms and software:
  NO2, ozone profile, aerosol index and aerosol layer height data products
QA & geophysical validation
Dutch national programme & MPC lead

## Slide 6
See https://mps.tropomi.eu
TROPOMI can continue for another 10+ years
Detector Dark Current
Reflectance Monitoring
Notes: After 7½ years in orbit the instrument performance is excellent.
Optical degradation is monitored and corrected for.
Level 1B improvements focus on UV straylight corrections.
TROPOMI can continue for another 10+ years.

## Slide 7
TROPOMI Data Products | Type | Air Quality | Climate | Ozone
Nitrogen Dioxide | SP | o |  | 
Formaldehyde | SP | o |  | 
Glyoxal | RP | o |  | 
Sulfur Dioxide | SP | o | o | 
Carbon Monoxide | SP | o |  | 
Aerosol UV Index | SP | o | o | 
Aerosol Layer Height | SP | o | o | 
Aerosol Optical Thickness | RP | o | o | 
Methane | SP |  | o | 
Ozone Total Column | SP |  |  | o
Ozone Profile | SP |  |  | o
OCLO | RP |  |  | o
Surface Reflectance DLER | RP |  |  | 
Solar Induced Fluorescence | RP |  |  | 
Ocean Color | RP |  |  | 
Cloud | SP |  |  | 
HDO & Water Vapor | RP |  | o | 

## Slide 8: Canadian Wildfires
UVAI 2025-05-25 2025-06-10
ALH 2025-06-01

## Slide 9
https://amt.copernicus.org/articles/18/2553/2025/

## Slide 10: Ozone profile
0-6 km
18-24 km
24-32 km
mean October 2020
Comparison with ozone sondes

## Slide 11: Monitoring NO2 the success of pollution control policies
OMI NO2 (log-scale)
2005
OMI NO2
2024 - 2005

## Slide 12: Emission Registration
TROPOMI
Map of Dutch NOx emissions in 2019 according to satellite observations and as reported (in native resolution and resampled to the resolution of the satellite observations); this figure uses the 0.05° dataset

## Slide 13: Shipping Emissions

## Slide 14: TROPOMI Data Availability
Copernicus Dataspace
Operational L1 and L2 data
https://dataspace.copernicus.eu
S5P-PAL
Scientific L2 and L3 data
https://data-portal.s5p-pal.com
TEMIS
Regional and gridded NO2 data
https://www.temis.nl
NASA
Operational L1 and L2 data
https://www.earthdata.nasa.gov/sensors/tropomi
... and …
Google Earth Engine
https://geoservice.dlr.de
https://terrascope.be/en

## Slide 15
CO2M
TANGO
CO2, CH4, NO2, Sif
Resolution 2x2 km2
Swath width ~270 km
Launch 2027
Constellation of 3 identical satellites
ESA scout programme
CO2, CH4, NO2
Resolution 300x300 m2
Targets 30x30 km2
2 cubesats flying in formation
Launch 2028
Metop SG
S5/UVNS (Tropomi like)
IASI-NG
3MI
Metimage
August 2025
MTG-S Sentinel 4
S4/UVN
Resolution ~8x8 km2
Geostationary over Europe
July 2025
On MTG-S with IRS

## Slide 16
TROPOMI is used for applications and research
  …forecasting, monitoring, emission registration…
Synergy with the GEO and LEO missions
  … 2x daily observations globally, regional hourly observations …
TROPOMI and S5P are in excellent shape
  …technically the mission can continue for 10+ years…

## Slide 17: KNMI Responsibilities
Lead of the Dutch National Programme [NSO]
Lead of the ATM-MPC [ESA]
Instrument Commanding & Monitoring
L1B data product in-flight calibration
algorithm development
L0-1B data processor
L2 data products
Algorithm development
L1-2 data processor
NO2, Aerosol, O3 Profile
QA & Validation
Routine validation & QA
Field campaigns (CINDI)
Notes: Instrument monitoring and in-flight calibration
Level 0-1B algorithms and data processor
Level 1-2 algorithms and software:
  NO2, ozone profile, aerosol index and aerosol layer height data products
QA & geophysical validation
Dutch national programme & MPC lead

## Slide 18: Reactive Nitrogen
TROPOMI NO2
CRIS NH3