## Slide 1
Tianlang Zhao1, Jingqiu Mao1*, Xiaoyi Zhao2*, Debora Griffin2, Ramina Alwarda3, Kim Strong3, William R Simpson1, Martina M Friedrich4, Martin Tiefengraber5, Manuel Gebetsberger5, Alexander Cede5, Elena Spinei6, Apoorva Pandey6,7, Thomas F Hanisco6
1 University of Alaska Fairbanks 2 Environment Canada, 3 University of Toronto, 4 BIRA-IASB, 5 LuftBlick, 6 NASA GSFC, 7 University of Maryland Baltimore County
This work is supported by UAF Troth Yeddha’ R1 fellowship
* Corresponding authors
Optimal-Estimation Pandora Multi-Axis Retrievals for Evaluating diurnal cycle of TEMPO HCHO over North America

## Slide 2: HCHO vertical profile: a key to understand meteorology-chemistry interaction
Zhao et al., 2025, submitted to GRL, in revision
HCHO mixing ratio
(pptv)
Altitude (km)
GEOS-CF
PGN
ppb
molecules cm-2
GEOS-CF
PGN
HCHO profile observation helps reconcile column and surface data
1
0
2
3
2
4
Different model bias for column and surface
HCHO column
Surface HCHO
Local hours
Eastern US, summer

## Slide 3: Advantages of PGN* multi-axis mode
Long-term continuous observations
High temporal resolution
Large and global distributed network
High sensitivity to near-surface trace gases
Intercomparison can be difficult due to different instrument build, scanning routine and
Uniform standard build, calibration, algorithm, centralized data process, easy to download
Altitude
Longer integration time increases Signal-to-Noise Ratio (SNR)
Standardized instrument
consistent data process
PGN: Pandonia Global Network

## Slide 4: We present a new retrieval of PGN HCHO profiles using MMF* optimal estimation (OE) algorithm
Advantages of MMF:
OE retrieval provides the averaging kernel, allowing ‘apple-to-apple’ comparisons with other datasets
Using radiative transport model to calculate AMF, which is more reliable under complex aerosol and scattering situations.
MMF offers a better vertical resolution.
MMF: Mexican MAX-DOAS Fit (Friedrich et al., 2019)
FRM4DOAS: https://frm4doas.aeronomie.be/
MMF is one of the official OE algorithm for FRM4DOAS* and NDACC MAX-DOAS data.
MMF is a bit more computation expensive than PGN official profiling, but it has many advantages

## Slide 5: PGN MMF retrieval show good agreement with TEMPO and TROPOMI in North America (17 sites in 2024 summer)
Counts
MountainView
Aldine
ChapelHill
BoulderCO-NCAR
GreenBelt
PGN MMF Trop VCD
PGN MMF Trop VCD
TROPOMI VCD
TEMPO VCD
PGN multi-axis
PGN direct-sun
TEMPO VCD
PGN MMF

## Slide 6: MMF shows an elevated HCHO layer in midday-afternoon at several sites, (2024 summer)
HCHO concentration
Molecules cm-2
Degree of Freedom
PGN multi-axis
PGN direct-sun
TEMPO VCD
PGN MMF

## Slide 7: MMF shows some unique HCHO profile features, compared to PGN L2 data and GEOSCF
WashingtonDC
Greenbelt
MMF
PGN L2
GEOS-CF

## Slide 8: Is the elevated HCHO real? – A case study
330m
154m
176m
Azimuth Viewing Angle
1.3 miles
Toronto
Question: Can MMF reproduce the PGN direct-sun HCHO partial column between the two instruments?
TEMPO median
HCHO column
May 1 - July 30, 2025

## Slide 9
MMF capture a diurnal cycle of HCHO partial column in between the two instruments, which is similar to that direct-sun HCHO column difference shows.
Direct-sun difference
MMF first layer of StGeorge
More observational evidence is needed.

## Slide 10: Elevated HCHO layer intensifies during heatwaves
Heatwaves intensify HCHO concentration, especially In the elevated HCHO layer
Model mostly intensify near surface
Consistent with model bias in HCHO column and surface O3 during heatwaves.
Zhao et al , 2025 in prep (presented in AGU24 fall meeting)
0
10
20
Local hour
0
1
2
3
0
10
20
GreenbeltMD
MountainViewCA
0
1
2
3
BayonneNJ
mol/mol
Altitude
(km)
molec/cm2
Non-heatwaves
heatwaves
MMF
MMF
GEOS-CF

## Slide 11: Takeaways
We successfully retrieved HCHO profiles at multiple PGN sites in North America using MMF OE algorithm;
MMF HCHO columns show a good agreement with TROPOMI & TEMPO columns, and agree well with TEMPO HCHO diurnal cycle across North America;
Multiple PGN MMF results show an elevated HCHO layer during midday-afternoon; the concentration will be intensified by high temperatures.
Happy to discuss more details if you are interested! Feel free to contact me: tzhao@alaska.edu
Thank you for your attention!